## Table
|  | psps_customer_hours_res | psps_customer_hours_med | psps_customer_hours_ci | psps_customer_hours_other
|  | epss.customer.hours.res | epss.customer.hours.med |  | epss.customer.hours.large.ci
VOLL Assumptions
Variables | Units | Residential | Medical | Small C&I | Large C&I
Usage per Year | MWh | 6.664 | 6.664 | 16.7237 | 203.184 | <<- get from PG&E dynamic load profile samples
per Hour | kWh | 0.76073 | 0.76073 | 1.9091 | 23.1945
Cost per Unserved kWh | $/kWh | 3 | 100 | 25 | 15
Cost per Cust-Hr | $ | 2.2822 | 76.0731 | 47.7276 | 347.9178
|  | Fast-Trip (Millions Customer-Hours) |  |  |  |  | Outage Costs ($ Millions)
| Year | Residential | Medical | Small C&I | Large C&I | Total | Residential | Medical | Small C&I | Large C&I | Total | Total Assuming All Res.
| 2018 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 2019 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 2020 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 2021 | 4.2871 | 0.27925 |  | 0.080627 | 4.6469 | 9.7839 | 21.2437 |  | 28.0516 | 59.0792 | 10.6052
| 2022 | 5.5073 | 0.38033 |  | 0.10532 | 5.993 | 12.5688 | 28.9326 |  | 36.6435 | 78.1449 | 13.6772
| 2023 | 5.6705 | 0.40537 |  | 0.10639 | 6.1822 | 12.9411 | 30.8378 |  | 37.0167 | 80.7955 | 14.109
| Total | 15.4649 | 1.065 |  | 0.29234 | 16.8222 | 35.2938 | 81.014 |  | 101.7117 | 218.0196 | 38.3914
|  | 91.93% | 6.331% |  | 1.738%
|  | PSPS (Millions Customer-Hours) |  |  |  |  | Outage Costs ($ Millions)
| Year | Residential | Medical | Small C&I | Large C&I | Total | Residential | Medical | Small C&I | Large C&I | Total | Total Assuming All Res.
| 2018 | 1.2778 | 0.0635 | 0.14102 | 0.060764 | 1.5431 | 2.9163 | 4.8306 | 6.7305 | 21.1408 | 35.6182 | 3.5217
| 2019 | 85.3852 | 4.0412 | 10.3856 | 1.4169 | 101.2289 | 194.8654 | 307.4272 | 495.6801 | 492.9644 | 1490.9371 | 231.0238
| 2020 | 21.9361 | 1.592 | 2.4987 | 0.28384 | 26.3106 | 50.0623 | 121.1093 | 119.2546 | 98.7521 | 389.1782 | 60.0457
| 2021 | 2.4631 | 0.21704 | 0.26454 | 0.062313 | 3.007 | 5.6214 | 16.5105 | 12.6258 | 21.6797 | 56.4375 | 6.8626
| 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2023 | 0.095565 | 0.0094377 | 0.012881 | 0.0019729 | 0.11986 | 0.2181 | 0.71795 | 0.6148 | 0.6864 | 2.2372 | 0.27354
| Total | 111.1578 | 5.9232 | 13.3027 | 1.8258 | 132.2095 | 253.6834 | 450.5956 | 634.9058 | 635.2235 | 1974.4082 | 301.7273
|  | 84.08% | 4.48% | 10.06% | 1.381% | 100%
|  | 126.6226 | 6.9881 | 13.3027 | 2.1181 | 149.0316
|  | 84.96% | 4.689% | 8.926% | 1.421% | 100%
|  | 1.939 | 3.5671 | 4.2602 | 4.9448 | 14.7112

## data
year | psps_customer_hours | psps_customer_hours_res | psps_customer_hours_ci | psps_customer_hours_med | psps_customer_hours_other | epss.customer.hours | epss.customer.hours.res | epss.customer.hours.med | epss.customer.hours.large.ci
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 1479624.15 | 1277841.7333 | 141018.5667 | 63500.0333 | 60763.85 | 0 | 0 | 0 | 0
2019 | 97657732.8 | 85385181.1167 | 10385607.0167 | 4041210.1833 | 1416899.05 | 0 | 0 | 0 | 0
2020 | 24718541.2833 | 21936053.5333 | 2498650.25 | 1592012.45 | 283837.5 | 0 | 0 | 0 | 0
2021 | 2789991.5667 | 2463139.0667 | 264539.6667 | 217035.2 | 62312.8333 | 4646934.7 | 4287054.0096 | 279253.6203 | 80627.0701
2022 | 0 | 0 | 0 | 0 | 0 | 5992995.4333 | 5507346.9683 | 380326.2867 | 105322.1783
2023 | 110419.3833 | 95565.1333 | 12881.3667 | 9437.6667 | 1972.8833 | 6182226.8 | 5670461.3673 | 405370.5421 | 106394.8906